## Slide 1
Introduction to Energy Consumption Monitoring
Understand how energy monitoring can provide visibility into your energy usage patterns and identify opportunities for savings.
by Snehitha

## Slide 2
Benefits of Energy Monitoring
Cost Savings
Reduce energy bills by pinpointing inefficiencies.
Sustainability
Decrease your carbon footprint and environmental impact.
Optimization
Identify high-consumption appliances and adjust usage.
Awareness
Gain insight into your energy usage habits.

## Slide 3
Types of Energy Monitoring Devices
Whole-Home Monitors
Track total energy consumption for an entire property.
Plug-Level Monitors
Monitor individual appliances and devices.
Utility Meters
Provide data from your electricity, gas, or water utility.

## Slide 4
Selecting the Right Monitoring Solution
1
Budget
Consider upfront and ongoing costs.
2
Compatibility
Ensure devices work with your home's electrical setup.
3
Reporting
Prioritize detailed data and user-friendly dashboards.
4
Connectivity
Choose wireless or wired options based on your needs.

## Slide 5
Installation and Setup
Mount Sensors
Place monitors on breakers or appliances.
Connect to Network
Sync devices to your home WiFi.
Configure Settings
Customize monitoring thresholds and notification preferences.

## Slide 6
Analyzing Energy Consumption Data
Visualize
Use charts and graphs to spot trends.
Track
Monitor usage by day, week, or month.
Customize
Set alerts and reporting preferences.
Benchmark
Compare your usage to similar properties.

## Slide 7
Identifying Opportunities for Savings
1
Reduce Waste
Unplug unused appliances and adjust thermostat settings.
2
Upgrade Equipment
Replace inefficient HVAC, lighting, and appliances.
3
Optimize Usage
Schedule high-consumption tasks during off-peak hours.

## Slide 8
Conclusion and Next Steps
Energy monitoring empowers you to take control of your energy use and make data-driven decisions to save money and reduce your environmental impact.